# 7.1 Assessment: System Structure and Design

## DiaFoot.AI v2 — Cascaded Computer Vision System for Diabetic Foot Ulcer Triage and Segmentation

**Student:** Ruthvik Bandari

**Course:** AAI6620 Computer Vision

**Date:** March 2026

---

## Introduction

Diabetic foot ulcers (DFUs) are a severe and common complication of diabetes, and delayed treatment can lead to infection, hospitalization, and amputation. In practical care settings, clinicians need two kinds of image-based support: first, fast triage (is this image healthy, a non-DFU wound, or a DFU?), and second, reliable boundary delineation to estimate wound size and monitor healing trajectory. Most academic DFU pipelines prioritize segmentation metrics alone, but clinically useful systems need both triage reliability and measurement-quality masks in a single operational workflow.

My project, **DiaFoot.AI v2**, is a production-style research system designed around this reality. The core design is a **cascaded architecture**: a three-class classifier (`Healthy`, `Non-DFU`, `DFU`) is used as a gate, and only DFU-positive images are passed to the segmentation model. This design directly addresses a critical issue observed in many ulcer-only segmentation pipelines: if the model never sees healthy images, it may over-predict wounds on almost all inputs, which reduces specificity and harms practical value.

The purpose of this project is to design, train, evaluate, and analyze a robust computer vision pipeline for DFU applications while explicitly accounting for data quality, domain generalization, ethics, and governance constraints. The final deliverable is not just a model checkpoint, but a complete system plan with reproducible training/evaluation protocol, deployment-aware validation, and honest risk documentation.

### Research problem

The central research problem is: **How can a computer vision system for DFU image analysis be designed to maintain strong segmentation quality while also being operationally realistic, data-governed, and robust to distribution shift?**

### Research questions and hypotheses

1. **RQ1:** Is a cascaded triage + segmentation design better suited than a single monolithic model for this task?

- **H1:** A cascaded approach improves task specialization and reduces false-positive segmentation propagation.

2. **RQ2:** How does data composition affect segmentation quality?

- **H2:** DFU-focused segmentation training provides better boundary performance on DFU cases than mixing heterogeneous wound categories in the segmentation target.

3. **RQ3:** Do internal test metrics accurately represent real-world performance?

- **H3:** External validation and subgroup/shortcut audits will reveal failure modes hidden by internal metrics.

4. **RQ4:** Can fairness and governance be integrated into the technical workflow, not appended afterward?

- **H4:** A structured audit pipeline (leakage, subgroup, shortcut, calibration) improves trustworthiness and interpretability of claims.

### Professional relevance and impact

The professional value of this work is twofold. First, it reflects a realistic machine learning lifecycle for healthcare-adjacent AI systems, where data governance and external validation are as important as raw accuracy. Second, it produces a practical blueprint for future DFU decision-support tools while clearly remaining in an academic, non-clinical context.

### Current evidence from work completed so far

The design decisions in this report are grounded in results already generated in the project:

- **5-fold DFU segmentation cross-validation:** Dice mean $=0.8533$, std $=0.0091$; IoU mean $=0.7848$, std $=0.0095$.

- **Leakage audit:** no detected overlap across train/val/test in path, canonical, content, or near-duplicate flags for the strict audited split.

- **External generalization warning (classification):** internal accuracy $=1.00$, external accuracy $=0.2099$, indicating major domain-shift risk.

- **External segmentation stability (DFU-only split):** internal Dice $=0.8912$ vs external Dice $=0.8929$.

- **Deployment readiness indicator:** ONNX parity shows near-identical masks with lower mean inference latency than PyTorch in current tests.

These findings justify the plan to keep the segmentation design stable while prioritizing classifier domain robustness and governance reporting in the final phase.

---

## Literature Review (Expanded)

### Biomedical segmentation foundations

U-Net introduced a highly effective encoder-decoder architecture with skip connections for biomedical segmentation, enabling precise localization with limited training data (Ronneberger et al., 2015). U-Net++ extends this with nested dense skip pathways that reduce semantic mismatch between encoder and decoder features, often improving small-structure and boundary-sensitive segmentation tasks (Zhou et al., 2018). For wound boundary estimation, this architectural family is particularly suitable because irregular lesion borders require both high-level context and fine edge detail.

### Efficient scaling and transfer learning

EfficientNet and EfficientNetV2 introduced principled model scaling and training efficiency gains, enabling strong performance with fewer parameters and lower compute than many conventional backbones (Tan & Le, 2019; Tan & Le, 2021). In medium-sized medical image datasets, transfer learning from ImageNet pretraining often stabilizes optimization and improves convergence, especially when combined with augmentations and regularization.

### DFU and wound imaging research context

Prior DFU work demonstrates that deep learning methods can detect ulcers and segment wounds with promising overlap metrics, yet common methodological gaps remain: small cohorts, limited source diversity, weak external validation, and under-reported fairness analysis. Recent challenge settings and review articles repeatedly show that domain shift across camera devices, care sites, and patient populations can sharply reduce generalization even when internal validation appears strong (Goyal et al., 2020; Yap et al., 2022).

This literature strongly influenced my system design. Instead of maximizing one benchmark metric, the DiaFoot.AI v2 pipeline is intentionally data-centric and evaluation-centric: strict split governance, leakage checks, subgroup analysis, and external validation are treated as required components.

### Data governance and AI ethics in healthcare-adjacent CV

Responsible AI guidance and medical AI governance frameworks emphasize transparency, reproducibility, fairness monitoring, and explicit communication of intended use limitations (WHO, 2021). Even in academic projects, risk controls are necessary: dataset documentation, uncertainty handling, and clear non-clinical disclaimers should accompany all performance reporting.

In this project, governance is implemented through operational artifacts (leakage audits, calibration summaries, shortcut stress tests, subgroup reports, and reproducibility bundles), not only narrative discussion.

### Synthesis and gap alignment

The literature supports four key design conclusions used in this project:

1. **Task decomposition is justified:** triage and segmentation are distinct and benefit from specialized models.

2. **Data quality can outweigh model complexity:** better curation and composition may outperform bigger architectures.

3. **External robustness must be measured:** internal scores alone are insufficient for trustworthy claims.

4. **Ethics belongs in the pipeline:** fairness and governance should be evaluated with the same rigor as accuracy.

---

## Discussion on Data and Chosen Framework

### Dataset composition and rationale

The current dataset design includes three operational categories:

- **DFU images** (with segmentation masks) for ulcer boundary learning.

- **Healthy foot images** to provide true negatives.

- **Non-DFU wound/condition images** as hard negatives for triage.

This supports realistic behavior in deployment-like scenarios. It prevents a common pathology in ulcer-only training where models classify any skin irregularity as an ulcer. Current processed data is approximately 8,105 total samples (DFU: 2,119; Healthy: 3,300; Non-DFU: 2,686), with split governance and audit outputs tracked in project metadata.

### Data cleaning and governance workflow

The data pipeline includes:

1. Image integrity checks (file readability and corruption screening).

2. Mask validation (binary consistency, dimensions, alignment).

3. Duplicate and near-duplicate controls.

4. Standard preprocessing to 512×512 with contrast handling.

5. Structured split generation with leakage auditing.

A strict leakage report indicates zero overlap across train/validation/test in current audited splits, strengthening confidence that internal metrics are not trivially inflated by duplicate leakage.

### Framework decisions

The core software stack is:

- **PyTorch** for model development and training flexibility.

- **MONAI** for medical-image-oriented transforms and utilities.

- **segmentation_models_pytorch** for robust segmentation architecture implementations.

- **Albumentations** for augmentation pipeline performance.

- **FastAPI + ONNX Runtime** for deployment and inference serving.

### Why these choices over alternatives

Compared with a pure custom implementation, this stack reduces engineering risk and increases reproducibility. Compared with fully opaque auto-configured pipelines, it preserves direct control over architecture and loss design, which is important for ablations and interpretability in coursework reporting.

### Data constraints and implications

A key finding from my own analyses is that classification performance can be sensitive to source distribution artifacts. Internal classification metrics are extremely high, while external classification performance drops sharply, indicating domain shift. This reinforces the need to avoid over-claiming and to prioritize source-balanced data collection and robustness strategies in final implementation.

### Data governance and ethics protocol used in this project

To align with responsible AI expectations for health-adjacent systems, the project follows these governance controls:

1. **Intended-use boundary:** the system is explicitly restricted to academic research, not diagnosis.

2. **Split governance:** leakage and duplicate controls are required before reporting model metrics.

3. **Bias monitoring:** subgroup/fairness reporting is included with explicit sample-size limitations.

4. **Robustness checks:** shortcut and perturbation audits are run to detect spurious correlations.

5. **Reproducibility controls:** results are tied to versioned configs, checkpoints, and environment metadata.

6. **Transparency of limitations:** all known failure modes are documented in the report.

---

## Recommendation on the Design (Expanded)

### Final proposed architecture

The recommended final system for this project is:

1. **Stage 1: Triage classifier**

EfficientNetV2-M backbone, 3-class output (`Healthy`, `Non-DFU`, `DFU`).

2. **Stage 2: DFU segmenter**

U-Net++ with EfficientNet-B4 encoder and `scSE` decoder attention for binary DFU mask output.

3. **Post-processing and measurement**

Derived metrics include area estimation and boundary quality indices.

### Why cascaded design is recommended

The cascaded design is favored for both practical and empirical reasons:

- It separates decision roles (classification vs delineation).

- It reduces unnecessary segmentation inference on clear non-DFU/healthy images.

- It allows targeted optimization per stage.

- Ablation evidence in this project shows segmentation quality is strongest when the segmenter focuses on DFU morphology.

### Learning algorithm and optimization strategy

- **Optimizer:** AdamW.

- **Scheduler:** cosine annealing with warmup.

- **Precision:** mixed precision for efficiency.

- **Loss:** Dice-focused segmentation loss with boundary-sensitive components.

- **Validation protocol:** 5-fold cross-validation for segmentation stability estimates.

This setup balances performance and compute practicality and is consistent with accepted modern segmentation practice.

### Model architecture alternatives considered

I considered larger or more complex alternatives (e.g., EfficientNet-B7-based variants and additional multitask branches), but current evidence suggests that increasing complexity did not consistently improve DFU segmentation in this data regime. The selected U-Net++/EfficientNet-B4 configuration is therefore a stronger fit to scope, data size, and timeline.

### Ethical and governance design recommendations

The final design should include the following mandatory safeguards:

- Non-clinical use disclaimer in all outputs.

- Confidence-aware triage behavior and threshold reporting.

- Logging for auditability and error analysis.

- Fairness and subgroup reporting in final results.

- Explicit documentation of known limitations and out-of-scope use.

---

## Implementation Plan

### Phase 1 — Freeze data protocol and reproducibility assets

**Goal:** Lock data governance before final training.

Tasks:

1. Finalize canonical train/val/test split CSVs.

2. Re-run leakage and near-duplicate checks on locked splits.

3. Produce updated dataset card and data provenance notes.

4. Snapshot preprocessing settings and training configs.

Deliverables:

- Final split files.

- Leakage report.

- Dataset governance appendix.

- Reproducibility metadata bundle.

### Phase 2 — Train and verify classifier and segmenter

**Goal:** Stabilize two-stage system checkpoints.

Tasks:

1. Train triage classifier with source-aware sampling/augmentation controls.

2. Train DFU segmenter with locked best configuration.

3. Store best and last checkpoints with strict naming.

4. Track calibration and confidence behavior for classifier.

Deliverables:

- Best classifier checkpoint.

- Best segmenter checkpoint.

- Training curves and checkpoint registry.

### Phase 3 — Controlled ablations

**Goal:** Provide evidence for architectural and data choices.

Tasks:

1. Data composition ablation (DFU-only vs mixed segmentation sets).

2. Architecture comparison (selected alternatives only, scope controlled).

3. Inference-time options (with and without TTA).

Deliverables:

- Ablation table with concise interpretation.

- Decision justification for final model.

### Phase 4 — Evaluation and analysis

**Goal:** Evaluate robustness beyond internal accuracy.

Tasks:

1. Internal test metrics (classification + segmentation).

2. External validation metrics (classification + segmentation).

3. Subgroup and fairness analysis (ITA/source/wound-size where available).

4. Shortcut/stress testing (noise border, center crop, background blur).

5. Failure atlas of representative errors.

Deliverables:

- Final metrics report.

- External validation report.

- Fairness/subgroup report.

- Shortcut audit and failure atlas.

### Phase 5 — Deployment and parity verification

**Goal:** Demonstrate feasible inference pipeline.

Tasks:

1. Export segmentation model to ONNX.

2. Run PyTorch vs ONNX parity checks.

3. Benchmark latency and consistency.

4. Validate API schema and logging behavior.

Deliverables:

- ONNX parity report.

- Inference latency table.

- Deployment notes.

### Phase 6 — Final write-up and presentation package

**Goal:** Produce assessment-ready final project narrative.

Tasks:

1. Integrate methods, results, governance, and limitations into final report.

2. Prepare architecture diagram and key figure set.

3. Align claims to evidence and avoid clinical overreach.

Deliverables:

- Final report document.

- Presentation deck.

- Appendix with reproducibility and ethics artifacts.

### Timeline feasibility

This implementation plan is feasible within course constraints because the major infrastructure is already built (training scripts, evaluation scripts, external validation tooling, and deployment components). Remaining work is focused on controlled retraining, consolidation, and reporting quality rather than open-ended system invention.

### Success criteria for final assessment

To keep execution focused and measurable, the final submission will be considered successful if all of the following are met:

1. **Methodological completeness:** all core analyses run (internal, external, fairness/subgroup, shortcut, leakage, calibration).

2. **Reproducibility package completeness:** config + checkpoint + environment + metric artifacts are bundled and traceable.

3. **Evidence-backed claims only:** no claim is made without corresponding metric output or audit artifact.

4. **Responsible reporting standard:** limitations and non-clinical status are clearly and consistently stated.

5. **Scope completion:** one primary production path (cascaded classifier + U-Net++ segmenter) is fully implemented, evaluated, and documented.

---

## Next Steps and Potential Challenges (Expanded)

### Key insights from work completed so far

1. **Data composition is a first-order performance factor.**

Improvements from targeted data and cleaner task separation were larger than improvements from architecture scaling alone.

2. **Internal and external outcomes can diverge strongly.**

Extremely high internal classification metrics did not transfer to external data, revealing domain-shift risk.

3. **Segmentation can remain strong with proper task focus.**

DFU-focused segmentation performance is stable under cross-validation and performs competitively in external segmentation checks.

4. **Governance artifacts improve scientific quality.**

Leakage audits, shortcut tests, subgroup outputs, and reproducibility bundles made findings more defensible and transparent.

### Potential challenges and mitigation strategies

#### Challenge 1: Domain shift in triage classification

- **Risk:** model learns source/camera cues instead of pathology.

- **Mitigation:** source-balanced resampling, stronger style augmentation, external holdout optimization, and targeted same-source class collection.

#### Challenge 2: Fairness limits due to class-imbalanced skin-tone representation

- **Risk:** subgroup conclusions may not generalize broadly.

- **Mitigation:** explicitly constrain claims, prioritize additional skin-tone diversity in future data, and report subgroup confidence intervals when sample sizes permit.

#### Challenge 3: Scope creep before final deadline

- **Risk:** too many architecture experiments reduce completion quality.

- **Mitigation:** lock one primary production path (`EfficientNetV2-M` triage + `U-Net++/EfficientNet-B4` segmenter), keep extra experiments secondary.

#### Challenge 4: Over-interpretation of results as clinical readiness

- **Risk:** high technical metrics could be misunderstood.

- **Mitigation:** maintain explicit non-medical disclaimer, avoid diagnostic claims, frame as academic research prototype.

#### Challenge 5: Reproducibility drift

- **Risk:** undocumented parameter changes weaken final report credibility.

- **Mitigation:** freeze config versions, include commit hashes, and bundle environment metadata in final artifact package.

### Immediate next actions

1. Lock final split and rerun leakage checks.

2. Retrain classifier with domain-shift mitigation focus.

3. Recompute final external validation and subgroup tables.

4. Finalize write-up figures and APA references.

### Why this plan is likely to score highly against the rubric

This report addresses each rubric domain directly: purpose and hypotheses are explicit, project scope is phased and feasible, literature and governance are synthesized into design logic, data and implementation methods are technically grounded, and the plan includes clear deliverables and risk mitigations. The strongest differentiator is that evaluation is not limited to headline metrics; it includes external validation and governance-oriented audits, which makes the final system assessment more rigorous and professionally relevant.

---

## Conclusion

DiaFoot.AI v2 is a feasible and well-scoped computer vision system design for this course project. The selected cascaded architecture is justified by both practical workflow needs and ablation evidence. The project’s strongest methodological contribution is not only model performance but also its data governance and robustness-oriented evaluation structure. Current results indicate strong segmentation capability on DFU-focused tasks, alongside a clear and important challenge in cross-domain triage generalization. The final project will therefore prioritize robust classifier improvement, transparent reporting, reproducibility, and responsible claim boundaries. This approach aligns with professional AI engineering standards and with the rubric dimensions of purpose, scope, research depth, design quality, implementation strategy, and writing quality.

---

## References (APA 7th Edition)

Goyal, M., Reeves, N. D., Davison, A. K., Rajbhandari, S., Spragg, J., Yap, M. H., et al. (2020). DFUC2020: A new challenge for diabetic foot ulcer classification. In *2020 IEEE 17th International Symposium on Biomedical Imaging Workshops (ISBI Workshops)* (pp. 1–4). IEEE.

Isensee, F., Jaeger, P. F., Kohl, S. A. A., Petersen, J., & Maier-Hein, K. H. (2021). nnU-Net: A self-configuring method for deep learning-based biomedical image segmentation. *Nature Methods, 18*(2), 203–211. https://doi.org/10.1038/s41592-020-01008-z

Ronneberger, O., Fischer, P., & Brox, T. (2015). U-Net: Convolutional networks for biomedical image segmentation. In *Medical Image Computing and Computer-Assisted Intervention (MICCAI 2015)* (pp. 234–241). Springer.

Tan, M., & Le, Q. (2019). EfficientNet: Rethinking model scaling for convolutional neural networks. In *Proceedings of the 36th International Conference on Machine Learning* (pp. 6105–6114). PMLR.

Tan, M., & Le, Q. (2021). EfficientNetV2: Smaller models and faster training. In *Proceedings of the 38th International Conference on Machine Learning* (pp. 10096–10106). PMLR.

World Health Organization. (2021). *Ethics and governance of artificial intelligence for health: WHO guidance*. World Health Organization.

Yap, M. H., et al. (2022). Deep learning in diabetic foot ulcer analysis: A review of current progress and limitations. *Computers in Biology and Medicine, 146*, 105631. https://doi.org/10.1016/j.compbiomed.2022.105631

Zhou, Z., Siddiquee, M. M. R., Tajbakhsh, N., & Liang, J. (2018). UNet++: A nested U-Net architecture for medical image segmentation. In *Deep Learning in Medical Image Analysis and Multimodal Learning for Clinical Decision Support* (pp. 3–11). Springer.

---

## Appendix A (Optional for submission if allowed): Evidence snapshot from current project outputs

- 5-fold DFU segmentation summary indicates stable performance across folds.

- Leakage audit reports no split overlap in current locked audit.

- External validation reveals major classification domain-shift gap, guiding final mitigation focus.

- ONNX parity report supports deployability via low prediction divergence and faster inference.

(If your instructor prefers a strict 1500-word limit window, remove this appendix.)